WINPRO 2

Integrated Security System

MULTI-USER ACCESS CONTROL SOFTWARE

OPERATIONAL MANUAL

Version 2.0.20

CHAPTER 1

1.0 INTRODUCTION

WinPRO is powerful, features rich, scalable access control management software. It is based on the robust SQL Database, allow multi-users to access the system at the same time.

This document will guide you through the installation of the WinPRO software. The chapters of this manual have been laid out in a sequential manner where concepts and programming steps are introduced step by step. Most of the examples and operations in different chapters are inter-linked, building on what has been explained in a successive manner. We strongly suggest that if you are using WinPRO for the first time, follow through the manual without attempting to jump topics.

1.1 WINPRO VERSION AND OPTIONAL MODULE

WinPRO has several versions which can control different number of doors.

| Product Code | Description |
| --- | --- |
| WinPro 2 Basic (Multi-user Access Management Software c/w Multiple-shift Time Management Software, SQL database, 4 workstations) |  |
| EWWINP201B | WinPro2/1 (Basic), support 1-16 Doors (with EL70P software dongle) |
| EWWINP202B | WinPro2/2 (Basic), support 1-32 Doors (with EL70P software dongle) |
| EWWINP203B | WinPro2/3 (Basic), support 1-64 Doors (with EL70P software dongle) |
| WinPro 2 Standard (Basic features cum Enhance Area Trace, Email/SMS Alert, Alarm Monitoring, Behavioral Analysis & Lift Access) |  |
| EWWINP201S | WinPro2/1 (Standard), support 1-16 Doors (with EL70P software dongle) |
| EWWINP202S | WinPro2/2 (Standard), support 1-32 Doors (with EL70P software dongle) |
| EWWINP203S | WinPro2/3 (Standard), support 1-64 Doors (with EL70P software dongle) |
| WinPro 2 Premium (Standard features cum Intranet Access, EFD Support, CCTV Interfacer, System Dashboard, Chart, Commond Centre & VMS Interfacer) |  |
| EWWINP201P | WinPro2/1 (Premium), support 1-16 Doors (with EL70P software dongle) |
| EWWINP202P | WinPro2/2 (Premium), support 1-32 Doors (with EL70P software dongle) |
| EWWINP203P | WinPro2/3 (Premium), support 1-64 Doors (with EL70P software dongle) |

WinPRO has also various optional modules which can be programmed inside the programmable E.Key :

| Time Management Module | Time Management module that supports Multiple-shift. |
| --- | --- |
| Lift Access Module | Lift Access module that manage lift controller |
| Modem Module | Modem module that allows transaction from controllers at remote sites polled automatically based on predefined period by Hayes compatible dial-up and leased line modem/ |
| WEB Support Module | Web Server module enabling the WinPRO information to be accessed through the standard web browser. Limited to 4 clients only. |

CHAPTER 2

2.0 STEP-BY-STEP INSTALLATION

This section provides a step-by-step walk-through of the software installation process for Microsoft SQL, WinPRO on both Server and Client workstations.

STEP 1: SQL Installation

You may skip this step if your server PC already has Microsoft SQL (Microsoft SQL must be version 2008 and above). You need to get know the User ID and Password for the Microsoft SQL login. Then, proceed to WinPro Installation.

If your server PC does not have Microsoft SQL, you may need to install Microsoft SQL into your server PC. You may download the SQL installer and SQL Installation guideline from ELID Tiki Support website as link below

http://www.elid.com/support/tiki-index.php?page=SQL+2008+R2+Installer

There are two installer files inside the folder and please choose according to your server PC specs.

SQLEXPRWT_x64_ENU.exe – for windows 64 bits

SQLEXPRWT_x86_ENU.exe – for windows 32 bits

Follow the guideline until the end. The guideline is for server PC that clean from any Microsoft SQL.

STEP 2: WinPRO Server Installation

Install the WinPRO server at your server PC, you may download the latest installation file from Tiki Support website as link below

http://www.elid.com/support/tiki-index.php?page=WinPro+SQL-based+Access+Manager

| Minimum Server Requirements |  |
| --- | --- |
| Processor: Operating System: RAM: Disk Space Required: Monitor Resolution: USB Port: Interface: | Intel Core i3 @ 3.50Hz Microsoft Windows Server 2003 4GB 320GB 1024 x 768 pixels, 16-bit colour 1 (for Software License) Keyboard and Mouse |

The installation file name is wp_inst_xxxxx.exe. Run the installation, at the ODBC Setup screen, Enter the Server Name (your PC name or ‘local’), login name is ‘sa’ and password is elidstrongpw (This is password that was created under SQL installation guideline. It might be different if you have existing Microsoft SQL).

Once you have successfully installed WinPRO, there are three programs in the WinPRO software:

WinPRO Designer

Configure the system, such as controller unit number, floor plan, etc. Normally just need it once a while when adding / removing controllers from the system.

WinPRO Server

Responsible to retrieve transactions and issue commands to the controllers.

WinPRO Client / Manager

Manage all the door access related operations, most of the time, you will be using Manager.

STEP 3: WinPro Client Installation

WinPro can handle multi workstation, called as Client PC. If you wish to have Client PC, you must make sure that Client PC can reach server PC network so that it can access WinPro SQL database from server PC.

Install WinPRO Client at your client PC, you may download the latest installation file from Tiki Support website as link below

http://www.elid.com/support/tiki-index.php?page=WinPro+SQL-based+Access+Manager

The installation file name is wp_cli_inst_xxxxx.exe. Run the installation, at the ODBC Setup screen, Enter the Server Name (PC Name/ IP Address that hold the WinPRO Server). Login name is ‘sa’ and password is elidstrongpw (Use same login and password as Server PC).

Once you have successfully installed WinPRO Client, you may only see one program in the WinPRO Client software:

WinPRO Client / Manager

Manage all the door access related operations. Others operation must be done in Server PC.

If WInPro Client failed to login, please do some steps below to resolve the issue:

- Make sure WinPro server is running on Server PC

- Make sure Client PC can ping IP Address of Server PC

- Do telnet from Client PC to confirm those ports is open (SQL: 1433, WinPro: 9011)

- In the antivirus/firewall, add an exception to unblock port 9011 which is used by winpro client <-> server communication and port 1433 which is used by winpro client <-> SQL database

CHAPTER 3

3.0 Hardware Setup

Follow the wiring diagram that has provided in the packaging box. If you are using serial communication you may need to connect communicator to the PC. Each communicator can be up to 16 doors by daisy-chain connection.

Serial communication: Daisy-chain connection

For multi-bus configuration, you may refer to the following diagram.

Multi-bus Configuration

If you are using TCP/IP you may need to connect the PC to the nearest switch/hub that linked to the controller.

TCP/IP Communication

Then, get setup your controllers with proper unit number and baudrate (if you are using serial communication) or IP Address (if you are using TCP/IP communication).

For serial communication, each bus can only occupy with 16 doors, it can be less than 16 but could not more than that. 1st bus unit number must start with number 1; 2nd bus unit number must start with number 17; 3rd bus unit number must start with number 33 and so on. If in the bus not fully occupied 16 doors, the unit number still need to follow the starting number of each bus.

For example:

Bus 1: Unit number 1 – 5 (5 doors)

Bus 2: Unit number 17 – 28 (12 doors)

Bus 3: Unit number 33 – 35 (3 doors)

Above hardware setup is for local site connection.

Configure hardware for branches

For branches hardware setup, you may have 2 types of configuration either use serial or TCP/IP. The following diagram shows how connection for serial and TCP/IP communication.

Serial connection for branches

TCP/IP connection for branches

If HQ and branches use the same network, the setup for communication is the same as local connection. Same network means from PC at HQ, you may ping IP Address of PC at the branch.

For HQ and branches that have different network, they need to use DDNS server so that system can access remotely. The configuration as following below:

For example, one controller installs at the branch while WinPro software is in the HQ, you may need to establish communication between these two devices so that data can be transferred.

For the controller side, you may setup as local TCP/IP connection. Then, set hostname, username and password of the DDNS at the branch Unifi router. Also set port forwarding of the controller as configuration above in blue box.

At the WinPro side, when you setup IP Address of the controller in designer, you may need to enter DDNS hostname and port number 11223 as configuration above in red box.

To confirm the connection of DDNS can reach HQ:

- Do ping hostname from HQ, for example: ping abc.dyndns.org. You may get reply if connection is established.

- Do telnet port 11223 from HQ, for example: telnet abc.dyndns.org:11223. You will get black screen if connection is established.

If you get connection failed, please check antivirus/firewall, add an exception to unblock port 11223 and 4001.

WinPro System Configuration

CHAPTER 4

4.0 Software license

Number of doors that can be added in WinPro is determined by software license. ELID supply different package of WinPro. If you run WinPro software without license key (demo mode), you will only be allowed to control one door with 50 users. For multi doors and users, you will require to purchase software license.

Please ensure that the license key is attached to the PC. It should be connected to PC’s USB port.

After plugged-in the license key, you have to install the driver of the key from the CD in the box. Once the driver has installed, PC will assign port number to the key. You may check the port number under Device Manager. For example, see figure below, the port number of the EL70P license key is COM3.

CHAPTER 5

5.0 WinPRO Designer

It is recommended that only the installer or authorized personnel be allowed to run this program for the systems configuration.

This program handles 36 formats of graphical file; among them are BMP, TIF, GIF, JPEG, etc. Therefore, you may use any painting software (e.g. Paintbrush) to create the site plan. Each site plan can be configured with 20 devices.

5.1 Startup WinPRO Designer

Run WinPRO Designer, once key detected, you will be prompted to enter ‘User ID’ and ‘Password’, both the default user ID and password is ‘ELID’.

Once log in, you will see the WinPRO main screen as follow:

5.2 Designer Screen Component

There are Command Buttons and Tool Bar on the screen. A major portion of the screen is reserved for the displaying of site plan and to allow a user placing devices on it.

5.2.1 Menu Bar

Menu Bar consists of 3 command items: Setup, View, Conditional I/O and Help

5.2.1.1 Setup Command

5.2.1.2 View Command

5.2.1.3 Conditional

Click on the Conditional I/O from the Menu Bar, the following Form appears.

I. Editing Column

This section is used for the controls of Conditional I/O, where Code column is a 3-character user-definable field, while Description is a 30-character field for the naming of the condition.

The following command bar consists of commands for the editing of Conditional I/O table:

II. Conditional Column

The Conditional column lists conditions as well as the delay time required before triggering an Action.

III. Action Column

The Action column lists the Actions that are to be triggered by particular device(s) when specified conditions are met.

5.2.1.4 Help

5.2.2 Editing Buttons

The Editing Buttons are used for creating new site plans (maps) and modifying existing site plans.

Site plans are graphic files created by any Windows painting software (e.g. Paintbrush, etc.). Designer supports up to 36 graphic file formats among them are BMP, TIF, GIF, JPEG and etc.

5.2.3 Site / Floor Plane

This large area allows user to insert devices relative to a particular site plan.

5.2.4 Bottom Bar

5.3 CREATING A SITE PLAN

Your first task is to create or scan in a new site plan (map), using any Windows painting/scanning software. Standard plan size (image-attribute) fitted for the window frame of WinPRO is (in pixels) 640(W) for width and 315(H) for height. An example of a site plan:

5.4 NEW POINT / CONTROLLER

New Point allows you to create new points of controller, sensor point and output point.

To define a controller, click on the Setup >New Controller OR Right Click > New Controller. This form would appear:

- Change the description of the controller

- Define the ‘Logical point’ of the controller (this logical point has to match with the unit number set in the controller, each controller MUST have identical logical point)

- Select ‘Controller Type’

- EL363 select EL360

- EL374 select EL370

- EL1335 select EL1330

- EL1375 select EL137x

- EL2305 select EL23xx

- EL2306 select EL2307A (Door 1), EL2307B (Door 2)

- EL2800 select EL2800A (Door 1), EL2800B (Door 2), EL2800C (Door 3), EL2800D (Door 4)

- EL2305L select EL2305L

- FC2305/6 select FC1000

- EL3000S select EL3000

- Select ‘Area In’, ‘Area Out’ and ‘Location’ of the controller.

- Enter the controller’s IP Address if the controller run at TCP/IP

- Click ‘OK’

You will find a  (Reader Point) at the top left most corner of the screen. Use the mouse to click on this Point and drag it anywhere within the site plan (map) as you intend it to be. After placing the reader in the desired location (which would be the front door), you may proceed with defining second reader. Repeat clicking on New Point button for each door point definition as described, based on the information as planned for instance, in Chapter 3.

The system supportable Car Parking Controller includes FC1200 and FC3000 while Lift Access Controllers are EL2205L and EL2205L6.

Similar pattern of definition is applied to Sensor point and Output point. Click on the Sensor button and for the Form as shown Over

Over here you are required to define Attach To Controller which tells the system if this particular sensor is attach to any controller. If ‘YES’ then define the reader name or else leave both this section blank. The Operating Mode could either be ‘Alarm’ or ‘Status’. On Text will displays whatever you have keyed in, on the Status Bar. Off Text will not display it on the screen.

The Point that is displayed for the SENSOR is icon and the Point that is displayed for the OUTPUT is icon. Just click on the icon and drag it to the appropriate location on the site plan.

Note:

An alarm point will trigger the buzzer when it is activated, contrast to a status point that is used to log the status of input devices.

5.5 DEFINE AREA

When you have finished creating all the controllers, you may now define Areas. Move into the Command Buttons and click on the Define Area box. A Form as shown will be displayed to allow you to define areas applicable to your site. Note that the Area Codes will be arranged in alphabetical order.

5.6 DEFINE LOCATION

To view all the location on the site plan, you can click on the Define Location box found in the Command Button. This command lists down all the Location codes being used in the site plan and its description. Note that the Location Codes are arranged according to alphabetical order.

5.7 VIEW CONTROLLER / SENSOR / OUTPUT

View Reader command allows you to view all the controllers that you have created in the system. You can browse through the screen to view various information regarding the controllers. Information includes Name, Description, Floor Plan, Logical Point, Controller Type, Area In, Area Out and Location and other setting to the controller.

The same concept implies for View Sensor and View Output. Click on the particular command and the appropriate screen is displayed. Both of these screens will display the Name, Description, Floor Plan, Logical Point, Controller Type, Area In, Area Out and location of the devices and other related information of the sensor or output.

5.8 RIGHT-MOUSE CLICKS

Alternatively, you can use right mouse click to bring out two additional menus.

Right-mouse click on the map shall bring up the following menu:

Select NEW CONTROLLER to add a new controller to the current map. Select NEW SENSOR to add a new sensor to the current map. Select NEW OUTPUT to add a new output point to the current map.

Right-mouse click on the device icon itself to show:

Choose DELETE option to delete the selected device. Choose MOVE TO option to move the device to other map. Click on PROPERTIES to edit the details of the device.

5.9 DETECT CONTROLLER

Once you have successfully setup the system, you can now test the connection of each controller to the software by using <Detect Controller> feature at WinPro Designer.

Click the ‘Detect’ button at the top panel of WinPRO Designer, screen below will be shown:

4

5

6

3

1

2

Serial Communication

- Enter the COM port number for Bus 1, 2 and 3. For example, in the figure below the port number of Bus 1 is COM1, Bus 2 is COM4 and Bus 3 is COM5.

- Select Bus 1.

- Click scan button, all the detected controllers will be listed down on the scanning result screen. The controller will reply with the controller model and also firmware version, otherwise it will show no reply. Repeat step 2 and 3 for Bus 2 and Bus 3.

LAN Communication

- Select the controller to be detected from the drop-down list.

- The IP address and the logical point number of the relevant controller will be displayed.

- Click ‘Test’ button to check its connection, the status of the controller will be shown on the scanning result screen.

If scanning result screen show no reply, it means that PC could not reach the controller. Please do some steps below to resolve the issue:

- Check unit number and baud rate at controller, make sure it has set correctly.

- Please ensure 12V power is connected at communicator if use Multidrop communication.

- Please ensure jumper selection (RS485/Multidrop/LAN) has set correctly at controller board.

- Please ensure communicator/LAN module working well.

- Please ensure COM Port/IP Address has set correctly.

CHAPTER 6

6.0 HOW CONDITIONAL I/O WORKS

Events from field devices can be used as conditions for activating and deactivating any devices attached to the system.

Conditional I/O command allows you to create entries to the Conditional I/O Table. Each condition is based on (IF… THEN… ACTION) format. Unlimited numbers of condition can be created.

The condition I/O processing is based on multiple events bases on “Many To Many” relation that can be used to trigger a number of actions. For example, if any one of the conditions is triggered then all relative actions will take place.

There are 3 basic steps:

1. Draw a floor plan of your establishment and the locations of doors with access control

2. Specify the reader controller, sensor points and output points in the floor plan.

3. Define the conditions and actions in the Conditional I/O table.

This manual provides you two scenarios where you need to create a Conditional I/O to activate and deactivate the devices. It is first necessary to specify the output points systematically. An example is shown below.

6.1 EXAMPLE 1

Two main lights in the Manager’s room are intended to be controlled by a Valid Entry or a Valid Exit of controller CTRL1 located at an office room. The lights will automatically be switched on when there is a valid entry and be switched off when there is a valid exit.

We assume light 1 is connected to Output 1 of CTRL1 and light 2 is connected to Output 2 of CTRL1.

First step is open your WinPRO Designer and click at the Conditional I/O menu. Window as shown will come out at your screen.

To apply this in the Conditional I/O, the following steps are to be taken:

You can repeat the same procedure to create the condition for Valid Exit from the Manager’s room. This time the Action should be identified with ‘ON OUTPUT 1’ and ‘ON OUTPUT 2’.

Upon completion, your screen should look as below. However, remember to key in the delay time in the “Delay” box provided. This is to inform the system to delay for 10 seconds before triggering the action when the condition is activated.

In the above example, whenever the manager badges/swipes his card at the IN reader to enter his office, lights will be turned on automatically. Similarly, when he badges/swipes OUT to leave.

Click on the button found at the top right corner of the screen to generate all the conditions that you have created. A message as shown below will be prompted on the screen indicating that the process has been successfully carried out.

6.2 EXAMPLE 2

The controller CTRL1 installed in the front door is connected to two alarm sensors. The first sensor is a smoke detector and the second sensor is a break glass fire alarm. If either Sensor 1 or Sensor 2 is activated then all controllers should unlock doors permanently.

In this scenario, whenever sensor 1 or sensor 2 is activated, all doors will be in Permanent Lock Release Mode.

Now, you have finished designing your site plan, inserting devices in their appropriate places and laying out all the Condition and Action. Your next step is to run the WinPRO Server and begin the WinPRO Access Control Manager setting.

CHAPTER 7

7.0 WINPRO SERVER

WinPRO Server handles the key license detection, transaction retrieval and the communications between the access controllers and the WinPRO client.

7.1 STARTING WINPRO SERVER

Double click the icon on the desktop to start WinPRO Server. You will be prompted for login. Enter ‘elid’ for both User ID and Password:

Confirmation box will be prompted to configure license USB port number. Click ‘Yes’ to continue.

Enter the COM port number for license EL70P that you get in STEP4 which is COM3. Tick ‘Do not show this’ if you want to skip this configuration for next login.

Click ‘Save’ and the main screen for WinPRO server will appears:

WinPRO Server handles license key detection, transaction retrieval and communication between the access controllers and the WinPRO Clients.

7.2 LICENSE KEY ACTIVATION

If you are 1st time using WinPRO, you may need to activate your license key; else, the software will be expired after 30 days.

- Click on ‘License’ button.

- If key is detected, key serial number will be shown at the screen.

- Enter the 16-digit activation code which is at the small slip that provided with the license key.

- Click ‘Upgrade’ button to activate.

4

3

2

CHAPTER 7

7.0 STARTING WINPRO MANAGER

With WinPRO Server installed and running with a valid license key, now you are ready to proceed to run WinPRO Manager. Double click the icon at your desktop to run the WinPRO Manager. Once the WinPRO Manager launched, the software will try to detect Softkey. Enter ‘Elid’ for both user ID and password when prompted.

Below is the WinPRO Manager main screen.

WinPRO Manager main screen consist of 4 main portions

- Pull down menu

- Tree view pane

- Floor plan pane

- Status bar

- First window showing controllers grouped under each of the buses in tree layout.

- Second window is the message area to give additional information such as total number of cards in a selected controller.

- Third window is the photo list to show thumbnails of the card holders whose cards is installed in the particular controller. Double click at the particular card holder, you can choose to view ‘Staff Information’ and ‘Staff Movement Analysis’.

Staff Information Screen:

Staff Movement Analysis Screen:

7.0.1 Tree View Pane

7.0.2 Floor Plan Plane

Display floor plan with dynamic icon represent the controllers.

7.0.3 Status Bar

You can find this bar at the bottom of the WinPRO Manager screen.

7.1 WINPRO MANAGER MAIN MENU

7.1.1 Setup Menu

To choose the Setup Menu, you click at the Setup Menu at the top Bar of the screen. Then you would get to see the list inside the Setup Menu.

7.1.2 View Menu

This menu allowed you to change some view at the main screen. Once you click at View menu this following list would be displayed:

7.1.3 Control Menu

This menu allowed you to send parameter to input/output point and controller. Once you click at Control menu this following list would be displayed:

7.1.4 Database Menu

This menu allowed you to setup the database. Once you click at Control menu this following list would be displayed:

7.1.5 Report Menu

This menu allowed you to access all report the system. Once you click at Report menu this following screen would be displayed:

7.1.6 Utilities Menu

This menu contains all the utilities function inside the WinPRO software. Once you click at Utilities menu this following list would be displayed:

7.3.7 Help Menu

This menu allowed you to get information and guide for WinPRO software and license information. Once you click at Help menu this following list would be displayed:

CHAPTER 8

8.0 SYSTEM SETTING

8.1 TIMERS

8.1.1 Timer Definition

Timer is the range that you can assign to the time zones, so that each particular day in the time zone can be assign with a set of a time range. Timer would be the time each particular card can be access a door in a day. Timer format defined is a 24 hours format.

8.1.2 Timer Setting

To get into timer setting, you can click Setup Menu > Timers. There are 2 sets of pre-defined timer:-

Free – user can access any time of the day

No Entry – No entry at all

8.1.3 Add Timer

Example: add one set of working period timer.

IN: 08:30 LUNCH OUT: 12:30 LUNCH IN: 13: 30 OUT: 17:30

- To add a new timer, click at Add button

- Key in the name to represent the timer

- Key in Start Time #1 (08:30)

- Key in End Time #1 (12:30)

- Key in Start Time # 2 (13:30)

- Key in End Time #2 (17:30)

- Click update button to update the Timers database

8.1.4 Edit Timer

Timer that is already set can be change to another setting of desire. Example: change lunch time to 12:00 until 13:00

8.1.5 Delete Timer

To delete Timers setting from database:

- Click at the Timer Name that you want to delete.

- Press Delete button at your keyboard.

- Click Yes at confirmation screen pop up. Click No if you don’t want to delete the timer.

8.1.6 Timer Report

You may confirm the timer setting by printing out the values. Just click  button, and a Form will be displayed as shown below

If you select only one timer, then the start and end timers must be the same. Press View/Print Button. You should get a preview as shown below:

8.2 TIME ZONE

8.2.1 Timer Zone Setting

To get into time zone setting, you can click Setup Menu > Time Zones

8.2.2 Pre-define Time Zone

There are also pre-defined time zones: -

Free Acc - Free Access for every single door

No Acc - No Access is not granted at any time and on any day.

8.2.3 Add Time Zone

- Click Add button.

- Enter time zone name in the field labeled “Time Zone Name”.

- Move to the “Timer Tag” field for Sunday and enter the timer by selection from the drop-down list box. System automatically updates the rest of the days' Timers. (Re-select at one of day's Timer list box if the auto-change is not what you intended.)

- Click Update to save record.

8.2.4 Delete Time Zone

To delete Time Zone setting from database:

- Click at the Time Zone Name that you want to delete.

- Click Delete button.

- Click ‘Yes’ at confirmation screen pop up. Click No if you don’t want to delete the Time Zone.

8.2.5 Timer Zone Report

You can check whether you have entered correctly by printing or previewing your entry using the “Report” button. (Please refer to Section 8.1.6 on how to use the Report Button). Your print out should look like Figure shown as below

8.3 DOOR ACCESSIBILITY

Door Accessibility holds particular reader controller and Time Zone that specific cardholders are allowed with access. This is useful in managing sites or areas (installed with individual controller) of restricted access.

8.3.1 Door Accessibility Setting

To get into door accessibility setting, you can perform either:

- Click Door Accessibility Speed Button

- Click Setup>Door Accessibility

8.3.2 Pre-define Door Accessibility

There is also pre-defined door accessibility: -

Acc-All - Allows free access to all readers at all days and all times.

No Acc - No Access to all readers at all days and all times.

8.3.3 Add New Door Accessibility

- Click ‘New’ button.

- Insert Accessibility Category Name under New Accessibility screen.

- Click Update button (New Accessibility Screen).

- Select reader name under Reader Name list.

- Select time zone under Time Zone list.

- Click Save button to save into database.

8.3.4 Delete Door Accessibility

- Select Door Access you want to delete.

- Click ‘Delete’ button.

- Click Yes button to delete accessibility category from database

8.3.5 Door Accessibility Report

You can preview the setting using Report button, (Please refer to Section 8.1.6 on how to use the Report Button). Your print out should look as below

8.4 FLOOR ZONES

Floor Zoning is applied only to lift access controllers, and that the traffic of access is low. It is used for restricting cardholders to accessing designated floors. System handles up to 64 floors. Click on the Floor Zone command Setup>Floor Zone

8.4.1 Pre-define Floor Zones

Free Access - free access to all floors

No Acc - no access to all floors

8.4.2 Add Floor Zones

- Click Add button (Floor Zone name automatically generate)

- Define floor that can be gained access into

- Click Update to store data

8.4.3 Delete Floor Zones

- Select floor zone you want to delete

- Click Delete button

- Click “Yes” at confirmation screen

8.4.4 Floor Zones Report

You can preview the setting using Report button, (Please refer to Section 8.1.6 on how to use the Report Button). Your print out should look like below

8.5 FLOOR ACCESSIBILITY

Floor Accessibility determines which controller and Floor Zone, a cardholder is allowed accessing. So, the physical mounting of controllers is directly associated to the servicing of particular floors' accesses (or floor zone). This means that a controller (reader) mounted on the 2nd floor of a building cannot possibly be assigned with floor zone(s) that covers floors 8 and 10. If your building has multiple lifts (and each covers certain floors), you may then enforce this by limiting cardholders to gain access only to certain lift.

8.5.1 Pre-Defined Floor Accessibility

There is also pre-defined floor accessibility: -

Acc-All – allows free access to all floor.

No Acc – No Access to all floor.

8.5.2 Add New Floor Accessibility

- Click “New” button.

- Insert Accessibility Category Name under New Accessibility screen.

- Click “Update” button (New Accessibility Screen).

- Click “Add” button to add reader and floor zone

- Select reader name under Reader Name list.

- Select Floor Zone under Floor Zone list.

- Click “Close” to save the new floor accessibility and close the window.

8.5.3 Delete Floor Accessibility

- Select floor accessibility you want to delete

- Click Delete button

- Click “Yes” at confirmation screen

8.5.4 Floor Accessibility Report

You can preview the setting using Report button, (Please refer to Section 8.1.6 on how to use the Report Button). Your print out should look like below.

8.6 HOLIDAYS

Setting the Holiday would enable the reader to recognize the day as a holiday and the holiday time zone will be used for granting access to the door. This is important because if a holiday falls on a weekday you may want to bar users from entering the premises. Access control for holidays needs to be handled differently from the access control for ordinary working days. Not all cardholders having the same access control for ordinary working days have the same access rights for holidays.

A maximum of 20 days in a year can be defined as holidays, and each date is in the pattern of day/month/year. The description of each holiday can be edited but not the date.

To perform holidays setting click Setup>Holidays

8.6.1 Add Holiday Date

- To key in the date, you could either click at the “Date” field and key in the date with format dd/mm/yyyy (e.g 01/01/2008) and key in “Description” (e.g ‘New Year’)

- Alternatively, you can double click for a date on the calendar to select date on the calendar to select the date as a holiday after clicking on the “Add” button. The Month and Year is selected using the up/down scroll arrow in the Month Box and Year Box. Finally, click at the “Description” field and key in the description for the holiday.

8.6.2 Delete Holiday Date

- Select ‘Holiday’ you want to delete

- Click Delete button

- Click “Yes” at confirmation screen

8.6.3 Holidays Report

You can preview the holiday database using Report button, (Please refer to Section 8.1.6 on how to use the Report Button). Your print out should look like below

CHAPTER 9

9.0 SETTING READER PARAMETER

This chapter concentrates on Reader Parameter Settings. All readers parameter is set in the DATABASE MENU. Click Database>Controllers. The following screen will be appeared

The following reader parameter can be set at this screen:

| Pin Offset | Pin Code Entry |
| --- | --- |
| Auto Lock Release TZ | Logged Transaction |
| Auto Disable TZ | Define Alarm Transaction |
| Anti-Passback Delay | Floor Zones |
| Anti-Passback Reset Time | Time Zones |
| Lock Release Time | Timers |

First apply  button at the bottom left of the screen as above to select your intended Reader, you can then start editing. For example, suppose you wish to change the ‘CTRL3’ door parameters, click button until the Reader Name shows ‘CTRL3’ and then start editing. Click the “Update” button to save your data.

You are required to work on one reader at a time until the door parameters for all the readers are set.

Note:

Parameters not applicable to a particular reader (controller) type will be automatically disabled. particular reader (controller) type will be automatically disabled.

9.1 PIN COCE ENTRY

This command allows you to set up to 10 PIN codes, which can be used to open the door (without using a card). The length of the PIN code can be between 1 to 6 digits, set by the PIN LENGTH field.

9.2 LOGGED TRANSACTION

The command Logged Transaction allows you to select those transactions, which you wish to be recorded or printed. WinPRO will only print or record those transactions that you have selected. The rest will be ignored. Upon clicking this command, the Form as showing below appears.

9.3 DEFINE ALARM TRANSACTION

This command allows you to select the transactions, which you classify as Alarm or Abnormal transaction. An alarm will be triggered when anyone of these Transactions occurs. The same Form as below appears and the same procedure implies for choosing the Transaction.

9.4 TIME ZONES

This command lists the Time Zones applied to a controller/reader. Click on this command for the Form as showing below. You may view the detailed setting of a particular Time Zone by clicking on the button with Time Zone name on it.

9.5 TIMERS

This command shows the Timers applied to a controller/reader. Click on this command for the Form as showing below. You may view the detailed setting of a particular Timer by clicking on the button with Timer name on it.

Note :

The Time Zones and Timers in Section 9.4 and 9.5 cannot be changed. It is only for viewing. Any amendments towards the setting should be done in Time Zones Setting and Timers Setting (refer to Chapter 8, Section 8.1 and 8.2).

CHAPTER 10

10.1 CARD HOLDER

Click on the Database>Card Holder to perform this function.

10.2 EDITING BUTTONS

Editing Buttons consist of a list of commands that you can perform on the Card Holder DB. The commands are briefly described in the following Sections.

10.2.1 Viewing Button

Four (4) Viewing Buttons are available for you to browse through the database.

10.2.2 Add Button

To add a card holder, click on this button. Enter the Staff#, Card#, Pin#, Name, Start and Expired Date, Door Accessibility, Department and Position in the Editing Screen, click the “Update” button when done. A card holder record would be created.

10.2.3 Delete Button

To remove a card holder from the database, select the card holder first then click on the “Del” button and the card holder record shown on the Editing Screen will be deleted from the database.

10.2.4 Update Button

This command is to save the changes made on the Editing Screen.

10.2.5 Send Button

Once you have finish setting all the parameter, click on the “Send” button and the card that is highlighted will be sent down to the readers automatically, based on door accessibility setting.

10.2.6 Batch Button

There are 2 commands associated with “Batch”.

“Batch Add”

which allows you to add card holders in batches

“Batch Delete”

This allows you to delete a batch of card holders stored in the database.

BATCH ADD

Upon entering into this command choose “Batch Add” and Figure below appears.

For example, if you wish to create the records for a group of 10 production workers. You can do so by keying the starting number and ending number on the Card # text boxes. Then maintain the Department and Position. Those fields that vary like the Name field ought to be keyed in separately. After editing, click the “Start” button to add the cardholders to database.

BATCH DELETE

The same procedure applies for deleting a batch of cardholders. Choose this command for the Form as below, key in the appropriate fields and click “Start” button to delete a list of card holders from the database.

10.2.7 Search Button

The command “Search” is used to search for a particular card holder. You are able to search by either keying in the Card #, Staff # or Name. Then click “OK” and the cursor will point to the specific record. The Search screen is displayed as below.

10.2.8 Preference Button

User Definable fields can be created to hold additional information of the card holder. For example, Marital Status/ Sex/ Tel No and etc. After keying in the fields, you can click the “Save” button to save the new definition into the database. The next time you go into the Card Holders Database, you will be able to see the newly defined fields.

SORTING ORDER

This setting allows you to define the Sorting Order for the records in the Database Screen. The down scroll arrow of the Sort Order box at the right opens into a list of available choices when you select it. The scroll bar on your right allows you to browse through the list and select the one you wish. Select the field that you wish to use as the key for sorting and press ENTER.

AUTO-DOWNLOADING TO READER

This is an optional field for cards to be sent down to readers/controllers automatically each time they are being created or updated. To activate this mode, check the Auto Download To Reader option as shown below.

10.2.9 Report Button

Finally the command “Report”, you can filter the report by ‘controller’, staff number’, card number’, staff name’, ‘department’, ‘job tilte’ and ‘door accessibility’:

After the selection, click ok and the report format will be shown as below:

CHAPTER 11

11.1 DOWNLOADING TO READERS

Commands described in this chapter allow you to download parameters and databases to specified readers as well as controlling directly the operation of the reader.

11.2 READERS COMMAND

To get into this menu, you can click Control Menu > Controllers.

The readers Command screen would appear.

11.2.1 Pulse Open

Click on Pulse Open button on Reader’s Command screen. Pulse Open is to momentarily unlock the door by deactivating the locking device.

If you choose all readers, then check the All Readers option. The control action will be sent out to all readers consecutively.

You may download this command to a specific reader, to a selected set of readers or to all readers. The instructions are set at “Send To” selection panel.

- Select a reader from the Reader Name drop-down list box. OR click on the Selective Reader check-box to select reader.

- Click Selective Readers button.

- Check those readers that you want to download the command. You can toggle between select and deselect by mouse clicking against it.

- Then you can return to the original screen by clicking the “OK” button.

- Click the “Send” button.

Note: First priority is given to “All Reader”, followed by “Selective Readers”, then “Individual Readers”. If you have selected all readers and decide to switch to individual reader, then make sure to deselect the “All Reader”’ command first

11.2.2 Send Reader Control Signal

This command allows you to send control signal to readers in the system. Its command Form is as below.

Select the target readers from the selection panel “Send To”. Four sets of radio buttons are available to set the following actions:

Finally having done all the necessary selections, click on the “Send” button

11.2.3 Send Parameter

Parameters associate with readers is explained in Chapter 9. Downloading them to readers using the Send Parameter command is described here. Firstly, you have to define the target readers in the “Send To” selection panel. (Refer to Section 11.1 for details.)

You may click on the “Select All Parameters” button to select all parameters or just check on those parameters you intend to download to readers (controllers). Click on “Send” button to execute the sending of parameter data.

11.2.4 Card Holder Control

To send the card numbers to the reader (controller), we need to use the Card Holder commands described in this section.

Select the target readers from the selection panel “Send To”.

There are three notebook-tabs associate with controls of cardholder records.

Click on the notebook tab to switch between the commands.

Install – to add card

Delete – to remove cards from readers

Verify & Rectify – to check the differences between cardholder ID stored in the reader and database

Mouse click on the “Install Card” checkbox for selection. For a reader that supports user definable PIN, you may check the “Update Pin” checkbox to send down the PIN at the same time. You may use this command to download new PIN at the same time. You might want to download only new Pin to readers. You should then only check on the “Update Pin” checkbox and remove the check mark on the “Install Card” checkbox.

Choose the cards you intend to send down. You have the option of either sending one card or all cards from database to readers. You cannot select a range of cards. To send one card, you need to select the card to be sent at the Card # drop-down list box, then click the “Install This Card” button.

If you want to install all cards from the database to readers, click on the “Install All” button.

The same steps apply for “Delete” command. You have the option to delete one card or all cards in the database. When you execute the “Install” or “Delete” command, WinPRO will Install/Delete the card to/from readers based on the door accessibility assigned to the cardholder.

The third command is “Verify & Rectify”. It is meant to check whether cards in readers are similar to that of the database in PC. The cardholder ID, time zone and any differences between PC database and reader database will be listed.

11.2.5 Erase Reader DB

This command allows you to clear transaction buffer in the controller database. Upon entering this command, the screen as shown below appears.

Select the controllers to be sent, then click “Send” button to execute the command.

11.2.6 Close

Click on “Close” button to exit from the Reader’s Command screen.

CHAPTER 12

12.0 READER TRANSACTION REPORTS

Controllers automatically log all transaction events including card numbers entry/exit, access valid/invalid, photo display, date and time of access, and so on. The commands in Setup > Preference Sub-Menu and Report Menu allow these transaction records to be uploaded for preview and printout.

This chapter begins with the explanation on Preferences Sub-Menu, then follow by Report Menu.

On-line Scanning

Status Bar Message

Latest Photo Display

Report Menu

Go to the Setup Menu and click on the Preferences Menu and Figure below will be displayed.

In the above screen there are three tab-forms: “Online Scanning”, “Status Bar Message” and “Latest Photo Display”. Each of these allows you to set different Preferences.

12.1 ONLINE SCANNING

This command consists of the following components:

Scan Readers

On-Line scanning

Buzzer On Alarm

12.1.1 Scan Readers

This command allows you to select intended readers for monitoring. There are 2 optional buttons: “All Readers” or “Selective”.

For "Selective" option, click on the “Select” button, a Form as below will be shown.

Check on the reader tag name's check-boxes of those that you wish to monitor.

12.1.2 On-line Scanning

To activate this mode, check on the Online Scanning checkbox. E.win is a multi-tasking software. While on-line scanning of readers runs in the background, other send parameter commands can still be executed.

12.1.3 Buzzer On Alarm

This is a command that issues alarm sound at PC whenever invalid (abnormal) transaction occurs. An alarm will continue until user clicks Acknowledge Alarm button to acknowledge and stop it. After specifying all the selections, click the “Close” button to exit from this command.

Note :

Transactions received from readers are separated into 2 categories, namely“Logged Transaction” and “Alarm Transaction”, as defined in READER DB setting. Transactions of category “Logged Transaction” will be displayed and stored in log file. Those transactions of category “Define Alarm Transaction” will cause system to trigger alarm.

12.2 STATUS BAR MESSAGE

The following setting allows you to define the type of transaction to be shown on status bar. Click at the Status Bar Message for the Form as of Figure below.

12.2.1 Reader

g command, you can select the readers to be monitored. (Refer to Section 12.1.1 for details of selecting readers.)

12.2.2 Transaction

You may then select transactions that are relevant to you for monitoring using "Selective". Only the selected transaction will be displayed on the Status Bar. “All” means display any sort of transactions as predefined by system as showing Figure below. Mouse click on “Update” button to store changes made. After specifying all the selections, click the “Close” button to exit from this screen.

12.3 LATEST PHOTO DISPLAY

This setting allows you to set criteria for displaying stored image of cardholders on screen whenever accessing takes place. Click at the “Latest Photo Display” tab for the Form as of Figure below.

12.3.1 Readers

Just like the previous command, you need to define the readers to be used by this function. (Refer to Section 12.1.1 for details of selecting readers.)

12.3.2 Transaction

You may then select transactions that are relevant, for instance 'Invalid entry', 'Anti-passback alarm' or 'Wrong Time Zone' to trigger photo image display, using "Selective". “All” means display photo image whenever accesses occurs irrespective of transaction events. Mouse click on “Update” button to store changes made.

Note that input/output will not be directly relevant to cardholders in this context.

12.4 OPTIONS

To set transaction rate polling delay, insert the value in second format inside the box as Figure below.

12.5 REPORT MENU

This function allows you to generate transaction report. You can choose the report based on your own set of selection by clicking on the Report Menu.

Figure 12a: Select Transaction Report

Figure 12b: Export Transaction

Figure 12c: Open History File

CHAPTER 13

13.0 UTILITY COMMAND

Utility Commands perform housekeeping of System Databases. Commands provided include backing up of transaction and system data, as well as restoring them.

Import Card System Information

Audit Trail Export Transaction

Area Trace Change Password

13.1 IMPORT CARD

Card database can be import from ASCII text file. The text file format is defined as below:

OC,SN,C,N,D,JT,M,P,AL,SD,ED

For example, A,T0001,038880,Johnson Lim,Marketing,Manager

13.2 EXPORT TRANSACTION

This command exports transaction records to an ASCII text file or excel file. Exporting of transaction records range can be specified by date range (see Figure 13a):

Figure 13a: Export Transaction

13.3 CHANGE PASSWORD

Each system user, identified by its User ID, has also a Password for protection. The password can be modified at any time by the command “Change Password” under the UTILITY MENU. The screen shown in Figure below appears.

13.4 SYSTEM INFORMATION

Click on the System Information button of the UTILITY MENU for the following Form as of Figure below. This Form displays existing working directory of WinPRO, available disk space, and size of Card Holder.

13.5 AUDIT TRAIL

User actions such as Pulse Door Open, Install card, Delete card, etc will be recorded auditing. The administrator can check who has issued command "permanent lock release", for example. Click on the System Information button of the UTILITY MENU for the following Form as of Figure below.

Once you click the Report button, the Figure as below will come out:

13.6 AREA TRACE

“Area Trace” command allows you to list down all Card Holders in a specific area. Click on this command and Figure 13a appears.

13.7 LOCATE

Click on this command and Figure below appears.

This screen displays the Readers Point, Sensors Point and Outputs Point. To view individual device, click on the appropriate name. For example, if you select the “Reader” option button, all the tag name for readers would be displayed.

To locate a Reader, just double click on the particular Reader and the sign will appear on the map. The sign will point to the Reader that you have requested.

The command “Anchored” is used to prevent the screen from moving to the bottom each time a device is being located. To still this particular screen just checks on the Anchored checkbox.

CHAPTER 14

14.0 SENSOR INPUTS

This chapter includes the following commands:

Specifying Sensor Points

Defining Sensor ( System Designer Screen)

Sensor Setting ( Database Menu )

Sensor Input Control ( Control Menu )

Most of the ELID Controllers provide Input Points. Please refer to the User Manual of the Controllers you are using to make sure of the number of provided Input Points. Each points of a controller can be configured as either “Status” or “Alarm”. A Status Point is one that merely monitors the state of input, usually a contact of open or close. The interpretation of the contact depends on the equipment used. It could mean for the high or low water level, ON or OFF of a pump, or high or low pressure.

An Alarm Point is one whose activation must raise alert to the system operator, for instance, a door being ‘forced open’. For such kind of points, WINPRO provides arming and disarming commands. When a point is disarmed, it means that it is not in use, and should not be expected to raise any alarm.

14.1 SPECIFYING SENSOR POINTS

It is necessary to specify the Sensor Points systematically. An example is shown below.

I. Alarm Monitoring

The installed reader, BACK-05 is connected to two alarm sensors. The first sensor monitors a roller shutter, by means of a reed switch. The second one is a passive infra red detector (PIR), which scans the production hall. Another installed reader, FRONT-01 is connected to a PIR, which monitors the foyer.

II. Status Monitoring

A status monitoring device of an oven (High / Low Temperature) and an air compressor unit (High / Low Pressure) are connected to a reader called PROD-02 in the production hall. A tester for monitoring power supply is connected to a sensor input of a reader called TEST03 in the testing room.

14.2 DEFINING SENSOR

Defining sensor is done in the WINPRO System Designer’s screen. (Right-hander) Right click on the mouse, on the screen (of a particular site plan) for a pop-up menu. Select 'New Sensor' for the Form as of Figure below. It requires you to key in a number of parameters. The example below gives the entry for the first point ‘ROLL-051’.

Key in the Tag Name. It will be helpful for you to key in tag that describes the sensor device to ease operation and informs the point's physical address to ease trouble shooting. Thus, the roller shutter is labeled as ‘ROLL-051’ because 'Roll' signifies Roller Shutter, '05' is the reader (controller) address, and 1 is the first sensor point. The Sensor Point number is incremental.

Next key in the Description -‘ROLLER SHUTTER SENSOR’. Logical Point # is the physical address of the sensor, in this case, it is set at ‘01’, relative to the connecting controller/reader. Attach To Reader, in this case should be ‘YES’ and the Reader Name is ‘CTRL002’. Sensor Point # is the first point.

Operating Mode is either ‘Alarm’ or ‘Status’. On Text and Off Text are the remarks that will appear on the screen when the point is activated or deactivated. In this case we use the words: ‘Roller Shutter Open’, and ‘Roller Shutter Closed’.

Upon completion of the setting, click “OK” to save and exit. Continue to enter in other Sensor Points defined in the table.

Note : Some of the settings relating to the hardware, such as the type of point [alarm/status/inhibit] and other settings [NC/NO contact] etc. have to be set in the individual controllers and not from the PC)

14.3 SENSOR SETTING

This command is found in the DATABASE MENU. Click on the Sensors sub-menu for the Form as showing below. The main purpose here is allowing you to change the sensor's disarming time zone. Other parameters of the sensor are not adjustable from this Form.

If a point is defined as an Alarm Point, then this point can be automatically armed only during a specified Time Zone. If the point is declared as a Status Point, then the Time Zone has no effect on the point.

Click on the Arming Time Zone field's down arrow and choose a relevant Time Zone. Click on the “Update” button to save the setting.

14.4 SENSOR INPUT CONTROL

This command is found in the CONTROL MENU. Click on the Sensors sub-menu for the Form as showing in Figure below. This command allows you to send Arm / Disarm or Exclude / Include command from the PC to the respective readers.

Click the down scroll arrow of the Sensor Name drop-down list box and a list of sensors will be displayed on the screen. Choose a sensor that you wish to control. Click on any of the 5 control radio buttons to be sent to the Sensor Point.

ARM meaning to activate a Sensor Point, and DISARM meaning to deactivate the Point. Setting ARM means overwriting the Arming Time Zone if the current operating time is not within the specified time zone. Similar concept applied to DISARM.

INCLUDE meaning to select a sensor point. This applies to both Alarm and Status point. EXCLUDE is to deselect the sensor point. This means permanently deactivate a sensor point until INCLUDE is being set.

The Time Zone command here is used if a sensor point is defined as an alarm point. Then this point can be automatically disarmed during the time frame that the time zone is active and armed during the period that the time zone is inactive.

Note that the Time Zone is defined under the sensor setting, which is found in the DATABASE MENU, Sensor sub-menu. "Individual" means sending the Control command to the selected sensor. "All" means sending the Control command to all defined sensors.

In the Send selection panel, you can either select sending to “Individual” Sensor Point or “All” Sensor.

CHAPTER 15

15.0 CONTROL OUTPUTS

This chapter includes the following commands:

Specifying Output Points

Defining Output (System Designer Screen)

GP Output Setting (Database Menu)

GP Output Control (Control Menu)

Most of ELID Controllers provide Output Points. Please refer to the User Manual of the Controllers for the number of outputs provided.

These points may be set at the Reader unit (not at WINPRO) to function in the following manner.

- To be switched ON/OFF manually from a PC or locally from a Special Card or Master Card.

- To be switched ON/OFF automatically by a timer.

- To be switched ON/OFF automatically by certain input conditions (EL2xxx only). For EL2xxx, it is possible to activate the output with a pulse of defined on period. However, all these settings are done at individual readers and not at WINPRO.

15.1 SPECIFYING OUTPUT POINTS

It is first necessary to specify the output points systematically. An example is shown below.

a) PERIMETER LIGHT

This light is activated by an 8-day time zone in Reader CTRL002 located at the back door. The light will automatically switch on at night time, and switch off during day time. This point, is given the Output Tag as PERI-051. Where the first 4 character defines the nature of the control (for Perimeter light) which helps the system operator to identify the point when it appears on the screen. The 3 digits at the end defines the reader address and the point number. This is useful to the maintenance staff for trouble shooting.

b) FRONT DOOR ALERT BUZZER

This Buzzer is linked to the front door reader. The purpose is to automatically turn on the buzzer for 30 seconds whenever the front door is left open, forced open or duress alarm is activated. This point is tagged as BUZZ-011.

15.2 DEFINING OUTPUT

Defining Output is done in the WINPRO System Designer’s screen. Upon entering this command, a screen such as Figure 15a appears that requires you to key in a number of parameters. The example below gives the entry for the first point BUZZ-011.

Figure 15a

First hit the create key, and then key in the Tag Name as ‘BUZZ011’. Key in the description as ‘ALERT BUZZER’. The Logical Point # is the physical address of the reader. Attach To Reader should be ‘YES’ and the Reader Name as ‘CTRL002’. The Output Point # identifies the output point number in the reader, either Point ‘01’ or Point ‘02’. In this case, it should be Point ‘01’.

Note:

EL2xxx controller has up to 6 output programmable points. The On Text would be ‘MAIN DOOR ALERT’ and Off Text would be ‘ALERT OFF’. This is mainly to help the system operator to identify what has happened each time this output turns On or turns Off, since the text associated with it will be displayed on the screen.

Upon completion of the setting, click “OK” button to save and exit. Continue to enter in the other Output Points defined in the Table.

Note:

This is set as a GP Point, therefore, commands such as OUTPUT DURATION and PATTERN are not relevant.

15.3 GP OUTPUT SETTING

This command is found in the DATABASE MENU, Output submenu. Click on this command and Figure 15b appears.

Figure 15b: GP Output Setting

This database only allows you to change the output timers. The other particulars of the output are not adjustable. To adjust other particulars of the output, you have to do it in the WINPRO System Designer.

When the time frame that the Time Zone is active the output point will be activated. During the period that the Time Zone is inactive the output point will not be activated. Upon entering this screen, click on the down scroll arrow of Activation Time Zone and a drop-down list box will appear. Choose from the list the Time Zone for the Output point that you have selected. When done click at the “Update” button to have the new setting added into the database.

15.4 GP OUTPUT CONTROL

This command is found in CONTOL MENU, Output submenu. Figure 15c appears. This command allows you to manually turn on and turn off an Output point from the PC.

Figure 15c: Output Point Control

First you need to choose an Output Point to work on. Click the down scroll arrow of the Output Name drop-down list box and a list of Output will be displayed on the screen.

Choose an Output point that you wish to control. Select the control action as either ON or OFF. If you are sending down output time zone, select TIME ZONE option. In the Send selection panel, you can either select sending to “Individual” output point or “All” output point. Finally, click the “Send” button to execute the command.

CHAPTER 16

16.0 MISCELLANEOUS COMMANDS

The following command will be described in this chapter:

Acknowledge Alarm Button

Printer Setup

Communication Setup

Help

Logout

Exit

16.1 ACKNOWLEDGE ALARM SETUP

This command is found in CONTROL MENU. If you have selected the Buzzer On Alarm option, whenever there is an alarm such as Wrong Pin, Duress Alarm, Door Forced Alarm, the buzzer would be triggered and the PC would produce an alarm sound. This informs that something has gone wrong and an investigation should be conducted. Click on the Acknowledgment Alarm Button to silent the alarm. The Alarm Icon / Symbol on the site plan will be brought to normal upon acknowledgment.

16.2 PRINTER SETUP

This command is used to set up the printer that you want the report to be printed out. To get into the Printer Setting, click on the SETUP > Printer Setup and Figure 16a appears.

Figure 16a: Printer Setup

This printer setup is a normal standard Windows printer setup. Please refer to Windows Operating System reference manual on how to configure printer setup.

16.3 COMMUNICATION SETUP

To get into Communications Setting, click on the Setup>Communication Setup and Figure 16b will appears.

Figure 16b: Communication Setting

Note: This command is to be used by the installer or authorized personnel. Wrong setting may cause the system to malfunction.

16.4 LOGOUT

The command LOGOUT from the Setup Menu allows you to go offline without closing the WinPRO program. Click on this command and Figure 16c appears.

Figure 16c: Logout

You are required to key in the password. Once you have keyed in the password, the screen will remain as it is. This is to logout from the system temporarily. All the functions would be deactivated. You are not allowed to cancel or exit from this screen.

In order to log on into the system you are required to enter the password. This command is useful especially when you are required to be away from the system for a while.

16.5 EXIT

To exit from the WinPRO Managers’ screen you could click on the Setup>Exit to obtain Figure 16d then key in the password to exit.

Figure 16d: Exit E.Win